## Line
Bill of Quantity(BoQ) for Condition Monitoring, LIVELINE maintenance and LIVELINE washing work in Transmission line
Sr.No. | Work Description | Unit | Qty | Price
A. For 400kV Transmission Line
I | CONDITION MONITORING OF 400kV Transmission line
1 | PUNCHURED INSULATOR DETECTION
i | Suspension Insulators | Per String
ii | Tension Insulators | Per String
iii | Mobilization/Demobilization Charges of Manpower and TnP. | Per trip
2 | THERMOVISION SCANNING
i | Thermoscanning of jumper (Twin/ Quad) | Per No
ii | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
II | LIVELINE MAINTENANCE OF 400kV Transmission line
i | Replacement of Single Jumper for existing Twin, Quad jumpers by new one suitable for Moose conductor. | Per Single Jumper
ii | Replacement of Twin Jumper by new one suitable for Moose conductor. | Per Twin Jumper
iii | Replacement of Quad Jumper by new one suitable for Moose conductor. | Per Quad Jumper
iv | Repair/ Replacement of Earthwire with supply & fixing of HWF (suspension/ Tension), VD, etc. | Per RKM
v | Tightening of nut & bolts fortransmission line Jumper.
a | Twin | Per No
b | Quad | Per No
vi | Fixing of Corona ring for for Tension/Suspension Insulator strings | Each
vii | Replacement of Tension/Suspension insulator .
a | For Tension | Per String
b | For Suspension | Per String
viii | Fixing of Spacer suitable for Twin Moose Conductor | Per No
ix | Fixing of Spacer suitable for Quad Moose Conductor | Per No
x | Replacement of suspension clamp | Per No
xi | Replacement of Vibration Damper / Spacer | Per No
xii | Repair of minor conductor damage (splice/putty/ Armoring) | Per No
xiii | Providing Bypass Jumper | Per No
xiv | Repair/ Replacement of Midspan joint | Per No
xv | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
III | LIVELINE WASHING
i | LIVELINE Washing of insulators
a | Normal Tower | Per Tower/cycle
b | Tension Tower | Per Tower/cycle
IV | Mobilization/Demobilization Charges of Manpower and TnP. | Per Trip
B. For 220kV Transmission line
I | CONDITION MONITORING OF 220kV Transmission line
1 | PUNCHURED INSULATOR DETECTION
i | Suspension Insulators. | Per String
ii | Tension Insulators. | Per String
iii | Mobilization/Demobilization Charges of Manpower and TnP. | Per trip
2 | THERMOVISION SCANNING
i | Thermoscanning of jumper nut and bolt (Single/ Twin) | Per No
ii | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
II | LIVELINE MAINTENANCE OF 220KV Transmission line
i | Replacement of Single Jumper for existing Twin by new one suitable for Moose conductor | Per Single Jumper
ii | Replacement of Twin Jumper by new one suitable for Moose conductor | Per Twin Jumper
iii | Repair/ Replacement of Earthwire with supply & fixing of HWF (suspension/ Tension), VD, etc. | Per RKM
iv | Tightening of nut & bolts for transmission line Jumper. | Per No
a | Single | Per No
b | Twin | Per No
v | Fixing of Arcing horn/Corona ring for Tension/Suspension insulator strings | Each
vi | Replacement of Tension/Suspension Insulator .
a | For Tension | Per String
b | For Suspension | Per String
viii | Fixing of Spacer suitable for Twin Conductor Jumper | Per No
x | Replacement of suspension clamp | Per No
xi | Replacement of Vibration Damper / Spacer | Per No
xii | Repair of minor conductor damage (splice/putty) | Per No
xiii | Providing Bypass Jumper | Per No
xiv | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
III | LIVELINE WASHING
i | LIVELINE Washing of transmission line insulator
a | Normal Tower | Per Tower/cycle
b | Tension Tower | Per Tower/cycle
IV | Mobilization/Demobilization Charges of Manpower and TnP. | Lot