## Substation
Bill of Quantity(BoQ) for Condition Monitoring, Liveline maintenance and Liveline washing work in Substation
Sr.No. | Work Description | Unit | Qty | Price
A. For 400kV switchyard
1 | CONDITION MONITORING OF 400KV SWITCHYARD
1 | PUNCHURED INSULATOR DETECTION
i | Suspension Insulators Strings. | Per String
ii | Tension Insulators Strings. | Per String
iii | Mobilization/Demobilization Charges of Manpower and TnP. | Per trip
2 | THERMOVISION SCANNING
i | Thermoscanning of load points inside Switchyard Bay. | Per Bay/ Bus
ii | Mobilization/Demobilization Charges of Manpower and TnP. | Per trip
3 | CORONAGRAPHY
i | Coronagraphy Testing of Switchyard Bay equipment | Per Bay/ Bus
ii | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
II | LIVELINE MAINTENANCE OF 400kV SWITCHYARD
i | Stringing of Single conductor for existing Twin, Quad Bus by new suitable Moose conductor with fixing of spacer, corona ring and HWF. | Per Span/ phase
ii | Stringing of Twin conductor for existing Twin, Quad Bus by new suitable Moose conductor with fixing of spacer, corona ring and HWF. | Per Span/ phase
iii | Stringing of Quad conductor for Quad Bus by new suitable Moose conductor with fixing of spacer, corona ring and HWF. | Per Span/ phase
iv | ḥ | Per Span/ phase
v | De-Stringing of Twin conductor for existing Twin, Quad Bus with dismantling of spacer, corona ring and HWF. | Per Span/ phase
vi | De-Stringing of Quad conductor for Quad Bus with dismantling of spacer, corona ring and HWF. | Per Span/ phase
vii | Replacement of Single Jumper for existing Twin, Quad jumpers by new one suitable for Moose conductor | Per Single Jumper
viii | Replacement of Twin Jumper by new one suitable for Moose conductor | Per Twin Jumper
ix | Replacement of Quad Jumper by new one suitable for Moose conductor | Per Quad Jumper
x | Tightening of Bay equipment terminal connector. | Per Bay/Bus
xi | Tightening of nut & bolts for Substation bay Drop Jumper. | Per No
xii | Fixing of Corona ring for for Tension/Suspension Insulator strings | Each
xiii | Replacement of Tension/Suspension insulator.
a | For Tension | Per String
b | For Suspension | Per String
c | Replacement of Isolator Male/ Female Contacts | Per No
xiv | Fixing of Spacer suitable for Twin Moose Conductor Jumper and Gantry Conductor | Per No
xv | Fixing of Spacer suitable for Quad Moose Conductor Jumper and Gantry Conductor | Per No
xvi | Fixing of Clamps and Connectors suitable for Moose conductors for Bay equipments and jumpers | Per No
xvii | Providing Bypass Jumper | Per No
xviii | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
III | LIVELINE WASHING
i | LIVELINE Washing of Bay equipments, insulators strings. | Per Bay/cycle
IV | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
B. For 220kV Switchyard
I | CONDITION MONITORING OF 220KV SWITCHYARD
1 | PUNCHURED INSULATOR DETECTION
i | Suspension Insulators Strings. | Per String
ii | Tension Insulators String. | Per String
iii | Mobilization/Demobilization Charges of Manpower and TnP. | Per trip
2 | THERMOVISION SCANNING
i | Thermoscanning of joints for Switchyard Bay equipment and joints. | Per Bay
ii | Mobilization/Demobilization Charges of Manpower and TnP. | Per trip
3 | CORONAGRAPHY
i | Coronagraphy Testing of Switchyard Bay equipment | Per Bay
ii | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
II | LIVELINE MAINTENANCE OF 220kV SWITCHYARD
i | Stringing of Single conductor for existing Single, Twin Bus by new suitable Moose conductor with fixing of spacer, corona ring and HWF. | Per Span/ phase
ii | Stringing of Twin conductor for existing Twin Bus by new suitable Moose conductor with fixing of spacer, corona ring and HWF. | Per Span/ phase
iii | De-Stringing of Single conductor from existing Single, Twin Bus with dismantling of spacer, corona ring and HWF. | Per Span/ phase
iv | De-Stringing of Twin conductor for existing Twin Bus with dismantling of spacer, corona ring and HWF. | Per Span/ phase
v | Replacement of Single Jumper for existing Twin by new one suitable for Moose conductor | Per Single Jumper
vi | Replacement of Twin Jumper by new one suitable for Moose conductor with dismantling of spacer and refixing it. | Per Twin Jumper
vii | Tightening of bay equipments and transformer bushings terminal connectors | Per Bay
viii | Tightening of nut & bolts for Substation bay Jumper drop. | Per No
ix | Fixing of Arcing horn/Corona ring for Tension/Suspension insulator strings | Each
x | Replacement of Tension/Suspension Insulator String.
a | For Tension | Per String
b | For Suspension | Per String
xi | Replacement of Isolator Male/ Female Contacts | Per No
xii | Fixing of Spacer suitable for Twin Moose Conductor Jumper and Gantry Conductor | Per No
xiii | Fixing of Clamps and Connectors suitable for Moose conductors for Bay equipments and Jumpers | Per No
xiv | Providing Bypass Jumper | Per No
xv | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
III | LIVELINE WASHING
i | LIVELINE Washing of Bay equipments and insulator strings | Per Bay/ cycle
IV | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
C. For 132kV Switchyard
I | CONDITION MONITORING OF 132kV SWITCHYARD
1 | PUNCHURED INSULATOR DETECTION
i | Suspension Insulators | Per String
ii | Tension Insulators | Per String
iii | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
2 | THERMOVISION SCANNING
i | Thermoscanning of load points for Switchyard Bay equipment and joints including transformer bay | Per Bay
ii | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
3 | CORONAGRAPHY
i | Coronagraphy Testing of Switchyard Bay equipment | Per Bay
ii | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
II | LIVELINE MAINTENANCE OF 132kV SWITCHYARD
i | Stringing of Single conductor for existing Single, Twin Bus by new suitable Moose conductor with fixing of spacer, corona ring and HWF. | Per Span/ phase
ii | Stringing of Twin conductor for existing Twin Bus by new suitable Moose conductor with fixing of spacer, corona ring and HWF. | Per Span/ phase
iii | De-Stringing of Single conductor from existing Single, Twin Bus with dismantling of spacer, corona ring and HWF. | Per Span/ phase
iv | De-Stringing of Twin conductor for existing Twin Bus with dismantling of spacer, corona ring and HWF. | Per Span/ phase
v | Tightening of 132KV bay equipments terminal connectors | Per Bay
vi | Tightening of nut & bolts for 132KV Substation bay jumper | Per No
vii | Fixing of Arcing horn for 132KV Tension/Suspension insulator strings | Each
viii | Replacement of Single Jumper for existing ZEBRA/MOOSE by new one suitable for ZEBRA/Moose conductor | Per Single Jumper
ix | Replacement of 132 KV Tension/Suspension Insulator .
a | For 132KV Tension | Per String
b | For 132KV Suspension | Per String
ix | Mobilization/Demobilization Charges of Manpower and TnP. | Lot
III | LIVELINE WASHING
i | LIVELINE Washing of Bay equipments and insulator strings | Per Bay/ cycle
IV | Mobilization/Demobilization Charges of Manpower and TnP. | Lot